## METRO TP Data
From daily Metro, Tribs database dump 2013 data
samples_SAMPLE_NO | SOURCE | START_DATE | SAMPLE_FLAG | QUALIFIER | SRESULT | VRESULT | REMARK_CODE | LAB_COMMENTS | LAB_METHOD_NO | LAB_PARAMETER | LAB_PARAMETER_UNITS | Year | Month | Row Labels | Average of VRESULT | Min of VRESULT | Max of VRESULT2 | Count of VRESULT
2013000015 | Metro Final Effluent | 2013-01-01 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 1 | 1 | 0.052806 | 0.022 | 0.086 | 31
2013000082 | Metro Final Effluent | 2013-01-02 |  |  | 0.065 | 0.065 |  |  | 354 | TP | mg/L | 2013 | 1 | 2 | 0.046179 | 0.031 | 0.063 | 28
2013000126 | Metro Final Effluent | 2013-01-03 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 1 | 3 | 0.050759 | 0.035 | 0.088 | 29
2013000177 | Metro Final Effluent | 2013-01-04 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 1 | 4 | 0.049367 | 0.04 | 0.074 | 30
2013000182 | Metro Final Effluent | 2013-01-05 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 1 | 5 | 0.053645 | 0.039 | 0.103 | 31
2013000187 | Metro Final Effluent | 2013-01-06 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 1 | 6 | 0.047667 | 0.022 | 0.08 | 30
2013000252 | Metro Final Effluent | 2013-01-07 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 1 | 7 | 0.068097 | 0.05 | 0.122 | 31
2013000324 | Metro Final Effluent | 2013-01-08 |  |  | 0.041 | 0.041 |  |  | 354 | TP | mg/L | 2013 | 1 | 8 | 0.070968 | 0.036 | 0.158 | 31
2013000374 | Metro Final Effluent | 2013-01-09 |  |  | 0.038 | 0.038 |  |  | 354 | TP | mg/L | 2013 | 1 | 9 | 0.0833 | 0.035 | 0.142 | 30
2013000417 | Metro Final Effluent | 2013-01-10 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 1 | 10 | 0.071419 | 0.046 | 0.134 | 31
2013000483 | Metro Final Effluent | 2013-01-11 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 1 | 11 | 0.057133 | 0.027 | 0.075 | 30
2013000488 | Metro Final Effluent | 2013-01-12 |  |  | 0.039 | 0.039 |  |  | 354 | TP | mg/L | 2013 | 1 | 12 | 0.049677 | 0.032 | 0.069 | 31
2013000493 | Metro Final Effluent | 2013-01-13 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 1
2013000554 | Metro Final Effluent | 2013-01-14 |  |  | 0.048 | 0.048 |  | Priority Pollutants | 354 | TP | mg/L | 2013 | 1
2013000621 | Metro Final Effluent | 2013-01-15 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 1
2013000690 | Metro Final Effluent | 2013-01-16 |  |  | 0.086 | 0.086 |  |  | 354 | TP | mg/L | 2013 | 1
2013000744 | Metro Final Effluent | 2013-01-17 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 1
2013000822 | Metro Final Effluent | 2013-01-18 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 1
2013000827 | Metro Final Effluent | 2013-01-19 |  |  | 0.036 | 0.036 |  |  | 354 | TP | mg/L | 2013 | 1
2013000832 | Metro Final Effluent | 2013-01-20 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 1
2013000863 | Metro Final Effluent | 2013-01-21 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 1
2013000922 | Metro Final Effluent | 2013-01-22 |  |  | 0.047 | 0.047 |  |  | 354 | TP | mg/L | 2013 | 1
2013000985 | Metro Final Effluent | 2013-01-23 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 1
2013001067 | Metro Final Effluent | 2013-01-24 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 1
2013001122 | Metro Final Effluent | 2013-01-25 |  |  | 0.077 | 0.077 |  |  | 354 | TP | mg/L | 2013 | 1
2013001127 | Metro Final Effluent | 2013-01-26 |  |  | 0.059 | 0.059 |  |  | 354 | TP | mg/L | 2013 | 1
2013001132 | Metro Final Effluent | 2013-01-27 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 1
2013001198 | Metro Final Effluent | 2013-01-28 |  |  | 0.059 | 0.059 |  |  | 354 | TP | mg/L | 2013 | 1
2013001287 | Metro Final Effluent | 2013-01-29 |  |  | 0.080 | 0.08 |  |  | 354 | TP | mg/L | 2013 | 1
2013001340 | Metro Final Effluent | 2013-01-30 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 1
2013001435 | Metro Final Effluent | 2013-01-31 |  |  | 0.022 | 0.022 |  |  | 354 | TP | mg/L | 2013 | 1
2013001483 | Metro Final Effluent | 2013-02-01 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 2
2013001488 | Metro Final Effluent | 2013-02-02 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 2
2013001493 | Metro Final Effluent | 2013-02-03 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 2
2013001576 | Metro Final Effluent | 2013-02-04 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 2
2013001662 | Metro Final Effluent | 2013-02-05 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 2
2013001719 | Metro Final Effluent | 2013-02-06 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 2
2013001806 | Metro Final Effluent | 2013-02-07 |  |  | 0.059 | 0.059 |  |  | 354 | TP | mg/L | 2013 | 2
2013001856 | Metro Final Effluent | 2013-02-08 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 2
2013001861 | Metro Final Effluent | 2013-02-09 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 2
2013001866 | Metro Final Effluent | 2013-02-10 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 2
2013001942 | Metro Final Effluent | 2013-02-11 |  |  | 0.042 | 0.042 |  |  | 354 | TP | mg/L | 2013 | 2
2013002013 | Metro Final Effluent | 2013-02-12 |  |  | 0.038 | 0.038 |  |  | 354 | TP | mg/L | 2013 | 2
2013002071 | Metro Final Effluent | 2013-02-13 |  |  | 0.038 | 0.038 |  |  | 354 | TP | mg/L | 2013 | 2
2013002147 | Metro Final Effluent | 2013-02-14 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 2
2013002228 | Metro Final Effluent | 2013-02-15 |  |  | 0.057 | 0.057 |  |  | 354 | TP | mg/L | 2013 | 2
2013002233 | Metro Final Effluent | 2013-02-16 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 2
2013002238 | Metro Final Effluent | 2013-02-17 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 2
2013002259 | Metro Final Effluent | 2013-02-18 |  |  | 0.037 | 0.037 |  |  | 354 | TP | mg/L | 2013 | 2
2013002304 | Metro Final Effluent | 2013-02-19 |  |  | 0.042 | 0.042 |  |  | 354 | TP | mg/L | 2013 | 2
2013002370 | Metro Final Effluent | 2013-02-20 |  |  | 0.047 | 0.047 |  |  | 354 | TP | mg/L | 2013 | 2
2013002458 | Metro Final Effluent | 2013-02-21 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 2
2013002511 | Metro Final Effluent | 2013-02-22 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 2
2013002516 | Metro Final Effluent | 2013-02-23 |  |  | 0.039 | 0.039 |  |  | 354 | TP | mg/L | 2013 | 2
2013002521 | Metro Final Effluent | 2013-02-24 |  |  | 0.038 | 0.038 |  |  | 354 | TP | mg/L | 2013 | 2
2013002583 | Metro Final Effluent | 2013-02-25 |  |  | 0.038 | 0.038 |  |  | 354 | TP | mg/L | 2013 | 2
2013002697 | Metro Final Effluent | 2013-02-26 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 2
2013002746 | Metro Final Effluent | 2013-02-27 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 2
2013002836 | Metro Final Effluent | 2013-02-28 |  |  | 0.031 | 0.031 |  |  | 354 | TP | mg/L | 2013 | 2
2013002921 | Metro Final Effluent | 2013-03-01 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 3
2013002926 | Metro Final Effluent | 2013-03-02 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 3
2013002931 | Metro Final Effluent | 2013-03-03 |  |  | 0.035 | 0.035 |  |  | 354 | TP | mg/L | 2013 | 3
2013003022 | Metro Final Effluent | 2013-03-04 |  |  | 0.037 | 0.037 |  |  | 354 | TP | mg/L | 2013 | 3
2013003131 | Metro Final Effluent | 2013-03-05 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 3
2013003328 | Metro Final Effluent | 2013-03-07 |  |  | NC |  |  | No sample collected due to construction. | 354 | TP | mg/L | 2013 | 3
2013003406 | Metro Final Effluent | 2013-03-08 |  |  | 0.088 | 0.088 |  |  | 354 | TP | mg/L | 2013 | 3
2013003411 | Metro Final Effluent | 2013-03-09 |  |  | 0.037 | 0.037 |  |  | 354 | TP | mg/L | 2013 | 3
2013003416 | Metro Final Effluent | 2013-03-10 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 3
2013003483 | Metro Final Effluent | 2013-03-11 |  |  | 0.048 | 0.048 |  |  | 354 | TP | mg/L | 2013 | 3
2013003540 | Metro Final Effluent | 2013-03-12 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 3
2013003588 | Metro Final Effluent | 2013-03-13 |  |  | 0.037 | 0.037 |  |  | 354 | TP | mg/L | 2013 | 3
2013003660 | Metro Final Effluent | 2013-03-14 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 3
2013003743 | Metro Final Effluent | 2013-03-15 |  |  | 0.083 | 0.083 |  |  | 354 | TP | mg/L | 2013 | 3
2013003748 | Metro Final Effluent | 2013-03-16 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 3
2013003753 | Metro Final Effluent | 2013-03-17 |  |  | 0.039 | 0.039 |  |  | 354 | TP | mg/L | 2013 | 3
2013003835 | Metro Final Effluent | 2013-03-18 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 3
2013003898 | Metro Final Effluent | 2013-03-19 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 3
2013003953 | Metro Final Effluent | 2013-03-20 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 3
2013004024 | Metro Final Effluent | 2013-03-21 |  |  | 0.048 | 0.048 |  |  | 354 | TP | mg/L | 2013 | 3
2013004136 | Metro Final Effluent | 2013-03-22 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 3
2013004141 | Metro Final Effluent | 2013-03-23 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 3
2013004146 | Metro Final Effluent | 2013-03-24 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 3
2013004223 | Metro Final Effluent | 2013-03-25 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 3
2013004309 | Metro Final Effluent | 2013-03-26 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 3
2013004363 | Metro Final Effluent | 2013-03-27 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 3
2013004422 | Metro Final Effluent | 2013-03-28 |  |  | 0.070 | 0.07 |  |  | 354 | TP | mg/L | 2013 | 3
2013004472 | Metro Final Effluent | 2013-03-29 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 3
2013004477 | Metro Final Effluent | 2013-03-30 |  |  | 0.039 | 0.039 |  |  | 354 | TP | mg/L | 2013 | 3
2013004482 | Metro Final Effluent | 2013-03-31 |  |  | 0.047 | 0.047 |  |  | 354 | TP | mg/L | 2013 | 3
2013004552 | Metro Final Effluent | 2013-04-01 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 4
2013004653 | Metro Final Effluent | 2013-04-02 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 4
2013004740 | Metro Final Effluent | 2013-04-03 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 4
2013004823 | Metro Final Effluent | 2013-04-04 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 4
2013004915 | Metro Final Effluent | 2013-04-05 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 4
2013004920 | Metro Final Effluent | 2013-04-06 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 4
2013004925 | Metro Final Effluent | 2013-04-07 |  |  | 0.047 | 0.047 |  |  | 354 | TP | mg/L | 2013 | 4
2013005032 | Metro Final Effluent | 2013-04-08 |  |  | 0.047 | 0.047 |  | Priority Pollutants | 354 | TP | mg/L | 2013 | 4
2013005104 | Metro Final Effluent | 2013-04-09 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 4
2013005167 | Metro Final Effluent | 2013-04-10 |  |  | 0.042 | 0.042 |  |  | 354 | TP | mg/L | 2013 | 4
2013005248 | Metro Final Effluent | 2013-04-11 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 4
2013005312 | Metro Final Effluent | 2013-04-12 |  |  | 0.042 | 0.042 |  |  | 354 | TP | mg/L | 2013 | 4
2013005318 | Metro Final Effluent | 2013-04-13 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 4
2013005324 | Metro Final Effluent | 2013-04-14 |  |  | 0.047 | 0.047 |  |  | 354 | TP | mg/L | 2013 | 4
2013005386 | Metro Final Effluent | 2013-04-15 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 4
2013005503 | Metro Final Effluent | 2013-04-16 |  |  | 0.074 | 0.074 |  |  | 354 | TP | mg/L | 2013 | 4
2013005575 | Metro Final Effluent | 2013-04-17 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 4
2013005658 | Metro Final Effluent | 2013-04-18 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 4
2013005713 | Metro Final Effluent | 2013-04-19 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 4
2013005719 | Metro Final Effluent | 2013-04-20 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 4
2013005725 | Metro Final Effluent | 2013-04-21 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 4
2013005808 | Metro Final Effluent | 2013-04-22 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 4
2013005887 | Metro Final Effluent | 2013-04-23 |  |  | 0.046 | 0.046 |  | TP reprepped 4/24. | 354 | TP | mg/L | 2013 | 4
2013005936 | Metro Final Effluent | 2013-04-24 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 4
2013006033 | Metro Final Effluent | 2013-04-25 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 4
2013006102 | Metro Final Effluent | 2013-04-26 |  |  | 0.047 | 0.047 |  |  | 354 | TP | mg/L | 2013 | 4
2013006108 | Metro Final Effluent | 2013-04-27 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 4
2013006114 | Metro Final Effluent | 2013-04-28 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 4
2013006209 | Metro Final Effluent | 2013-04-29 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 4
2013006268 | Metro Final Effluent | 2013-04-30 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 4
2013006319 | Metro Final Effluent | 2013-05-01 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 5
2013006396 | Metro Final Effluent | 2013-05-02 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 5
2013006470 | Metro Final Effluent | 2013-05-03 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 5
2013006476 | Metro Final Effluent | 2013-05-04 |  |  | 0.039 | 0.039 |  |  | 354 | TP | mg/L | 2013 | 5
2013006482 | Metro Final Effluent | 2013-05-05 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 5
2013006599 | Metro Final Effluent | 2013-05-06 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 5
2013006697 | Metro Final Effluent | 2013-05-07 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 5
2013006743 | Metro Final Effluent | 2013-05-08 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 5
2013006836 | Metro Final Effluent | 2013-05-09 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 5
2013006891 | Metro Final Effluent | 2013-05-10 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 5
2013006897 | Metro Final Effluent | 2013-05-11 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 5
2013006903 | Metro Final Effluent | 2013-05-12 |  |  | 0.042 | 0.042 |  |  | 354 | TP | mg/L | 2013 | 5
2013006976 | Metro Final Effluent | 2013-05-13 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 5
2013007050 | Metro Final Effluent | 2013-05-14 |  |  | 0.056 | 0.056 |  |  | 354 | TP | mg/L | 2013 | 5
2013007135 | Metro Final Effluent | 2013-05-15 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 5
2013007223 | Metro Final Effluent | 2013-05-16 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 5
2013007296 | Metro Final Effluent | 2013-05-17 |  |  | 0.065 | 0.065 |  |  | 354 | TP | mg/L | 2013 | 5
2013007302 | Metro Final Effluent | 2013-05-18 |  |  | 0.103 | 0.103 |  |  | 354 | TP | mg/L | 2013 | 5
2013007308 | Metro Final Effluent | 2013-05-19 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 5
2013007392 | Metro Final Effluent | 2013-05-20 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 5
2013007453 | Metro Final Effluent | 2013-05-21 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 5
2013007504 | Metro Final Effluent | 2013-05-22 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 5
2013007573 | Metro Final Effluent | 2013-05-23 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 5
2013007642 | Metro Final Effluent | 2013-05-24 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 5
2013007648 | Metro Final Effluent | 2013-05-25 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 5
2013007654 | Metro Final Effluent | 2013-05-26 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 5
2013007684 | Metro Final Effluent | 2013-05-27 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 5
2013007742 | Metro Final Effluent | 2013-05-28 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 5
2013007819 | Metro Final Effluent | 2013-05-29 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 5
2013007888 | Metro Final Effluent | 2013-05-30 |  |  | 0.044 | 0.044 |  |  | 354 | TP | mg/L | 2013 | 5
2013007963 | Metro Final Effluent | 2013-05-31 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 5
2013007969 | Metro Final Effluent | 2013-06-01 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 6
2013007975 | Metro Final Effluent | 2013-06-02 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 6
2013008079 | Metro Final Effluent | 2013-06-03 |  |  | 0.048 | 0.048 |  |  | 354 | TP | mg/L | 2013 | 6
2013008202 | Metro Final Effluent | 2013-06-04 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 6
2013008258 | Metro Final Effluent | 2013-06-05 |  |  | 0.080 | 0.08 |  |  | 354 | TP | mg/L | 2013 | 6
2013008350 | Metro Final Effluent | 2013-06-06 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 6
2013008425 | Metro Final Effluent | 2013-06-07 |  |  | 0.030 | 0.03 |  |  | 354 | TP | mg/L | 2013 | 6
2013008431 | Metro Final Effluent | 2013-06-08 |  |  | 0.022 | 0.022 |  |  | 354 | TP | mg/L | 2013 | 6
2013008437 | Metro Final Effluent | 2013-06-09 |  |  | 0.033 | 0.033 |  |  | 354 | TP | mg/L | 2013 | 6
2013008559 | Metro Final Effluent | 2013-06-10 |  |  | 0.039 | 0.039 |  |  | 354 | TP | mg/L | 2013 | 6
2013008656 | Metro Final Effluent | 2013-06-11 |  |  | 0.043 | 0.043 |  |  | 354 | TP | mg/L | 2013 | 6
2013008768 | Metro Final Effluent | 2013-06-12 |  |  | 0.038 | 0.038 |  |  | 354 | TP | mg/L | 2013 | 6
2013008828 | Metro Final Effluent | 2013-06-13 |  |  | 0.034 | 0.034 |  | NH3-N reprepped 6/19. | 354 | TP | mg/L | 2013 | 6
2013008885 | Metro Final Effluent | 2013-06-14 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 6
2013008891 | Metro Final Effluent | 2013-06-15 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 6
2013008897 | Metro Final Effluent | 2013-06-16 |  |  | 0.041 | 0.041 |  |  | 354 | TP | mg/L | 2013 | 6
2013008970 | Metro Final Effluent | 2013-06-17 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 6
2013009068 | Metro Final Effluent | 2013-06-18 |  |  | 0.040 | 0.04 |  |  | 354 | TP | mg/L | 2013 | 6
2013009126 | Metro Final Effluent | 2013-06-19 |  |  | 0.041 | 0.041 |  | NH3-N reprepped 6/26. NH3-N result verified but exceeded field duplicate acceptance limit. | 354 | TP | mg/L | 2013 | 6
2013009202 | Metro Final Effluent | 2013-06-20 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 6
2013009278 | Metro Final Effluent | 2013-06-21 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 6
2013009284 | Metro Final Effluent | 2013-06-22 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 6
2013009290 | Metro Final Effluent | 2013-06-23 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 6
2013009372 | Metro Final Effluent | 2013-06-24 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 6
2013009439 | Metro Final Effluent | 2013-06-25 |  |  | 0.070 | 0.07 |  |  | 354 | TP | mg/L | 2013 | 6
2013009565 | Metro Final Effluent | 2013-06-26 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 6
2013009635 | Metro Final Effluent | 2013-06-27 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 6
2013009715 | Metro Final Effluent | 2013-06-28 |  |  | 0.047 | 0.047 |  |  | 354 | TP | mg/L | 2013 | 6
2013009721 | Metro Final Effluent | 2013-06-29 |  |  | 0.034 | 0.034 |  |  | 354 | TP | mg/L | 2013 | 6
2013009727 | Metro Final Effluent | 2013-06-30 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 6
2013009751 | Metro Final Effluent | 2013-07-01 |  |  | 0.122 | 0.122 |  | TP result verified. | 354 | TP | mg/L | 2013 | 7
2013009902 | Metro Final Effluent | 2013-07-02 |  |  | 0.101 | 0.101 |  | TP result verified. | 354 | TP | mg/L | 2013 | 7
2013009933 | Metro Final Effluent | 2013-07-03 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 7
2013009971 | Metro Final Effluent | 2013-07-04 |  |  | 0.065 | 0.065 |  |  | 354 | TP | mg/L | 2013 | 7
2013010033 | Metro Final Effluent | 2013-07-05 |  |  | 0.103 | 0.103 |  | TP result verified. | 354 | TP | mg/L | 2013 | 7
2013010039 | Metro Final Effluent | 2013-07-06 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 7
2013010045 | Metro Final Effluent | 2013-07-07 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 7
2013010069 | Metro Final Effluent | 2013-07-08 |  |  | 0.065 | 0.065 |  | Priority Pollutants | 354 | TP | mg/L | 2013 | 7
2013010287 | Metro Final Effluent | 2013-07-09 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 7
2013010346 | Metro Final Effluent | 2013-07-10 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 7
2013010420 | Metro Final Effluent | 2013-07-11 |  |  | 0.067 | 0.067 |  |  | 354 | TP | mg/L | 2013 | 7
2013010496 | Metro Final Effluent | 2013-07-12 |  |  | 0.065 | 0.065 |  |  | 354 | TP | mg/L | 2013 | 7
2013010502 | Metro Final Effluent | 2013-07-13 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 7
2013010508 | Metro Final Effluent | 2013-07-14 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 7
2013010593 | Metro Final Effluent | 2013-07-15 |  |  | 0.083 | 0.083 |  |  | 354 | TP | mg/L | 2013 | 7
2013010695 | Metro Final Effluent | 2013-07-16 |  |  | 0.074 | 0.074 |  |  | 354 | TP | mg/L | 2013 | 7
2013010778 | Metro Final Effluent | 2013-07-17 |  |  | 0.080 | 0.08 |  |  | 354 | TP | mg/L | 2013 | 7
2013010856 | Metro Final Effluent | 2013-07-18 |  |  | 0.067 | 0.067 |  |  | 354 | TP | mg/L | 2013 | 7
2013010941 | Metro Final Effluent | 2013-07-19 |  |  | 0.067 | 0.067 |  |  | 354 | TP | mg/L | 2013 | 7
2013010947 | Metro Final Effluent | 2013-07-20 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 7
2013010953 | Metro Final Effluent | 2013-07-21 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 7
2013011025 | Metro Final Effluent | 2013-07-22 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 7
2013011121 | Metro Final Effluent | 2013-07-23 |  |  | 0.059 | 0.059 |  |  | 354 | TP | mg/L | 2013 | 7
2013011168 | Metro Final Effluent | 2013-07-24 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 7
2013011269 | Metro Final Effluent | 2013-07-25 |  |  | 0.057 | 0.057 |  |  | 354 | TP | mg/L | 2013 | 7
2013011325 | Metro Final Effluent | 2013-07-26 |  |  | 0.088 | 0.088 |  |  | 354 | TP | mg/L | 2013 | 7
2013011331 | Metro Final Effluent | 2013-07-27 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 7
2013011337 | Metro Final Effluent | 2013-07-28 |  |  | 0.071 | 0.071 |  |  | 354 | TP | mg/L | 2013 | 7
2013011419 | Metro Final Effluent | 2013-07-29 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 7
2013011491 | Metro Final Effluent | 2013-07-30 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 7
2013011538 | Metro Final Effluent | 2013-07-31 |  |  | 0.071 | 0.071 |  |  | 354 | TP | mg/L | 2013 | 7
2013011622 | Metro Final Effluent | 2013-08-01 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 8
2013011753 | Metro Final Effluent | 2013-08-02 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 8
2013011759 | Metro Final Effluent | 2013-08-03 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 8
2013011765 | Metro Final Effluent | 2013-08-04 |  |  | 0.071 | 0.071 |  | TKN reprepped 8/16. | 354 | TP | mg/L | 2013 | 8
2013011866 | Metro Final Effluent | 2013-08-05 |  |  | 0.077 | 0.077 |  |  | 354 | TP | mg/L | 2013 | 8
2013012048 | Metro Final Effluent | 2013-08-06 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 8
2013012117 | Metro Final Effluent | 2013-08-07 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 8
2013012196 | Metro Final Effluent | 2013-08-08 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 8
2013012272 | Metro Final Effluent | 2013-08-09 |  |  | 0.086 | 0.086 |  |  | 354 | TP | mg/L | 2013 | 8
2013012278 | Metro Final Effluent | 2013-08-10 |  |  | 0.083 | 0.083 |  |  | 354 | TP | mg/L | 2013 | 8
2013012284 | Metro Final Effluent | 2013-08-11 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 8
2013012308 | Metro Final Effluent | 2013-08-12 |  |  | 0.095 | 0.095 |  |  | 354 | TP | mg/L | 2013 | 8
2013012434 | Metro Final Effluent | 2013-08-13 |  |  | 0.146 | 0.146 |  | TP result verified. | 354 | TP | mg/L | 2013 | 8
2013012506 | Metro Final Effluent | 2013-08-14 |  |  | 0.072 | 0.072 |  |  | 354 | TP | mg/L | 2013 | 8
2013012586 | Metro Final Effluent | 2013-08-15 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 8
2013012688 | Metro Final Effluent | 2013-08-16 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 8
2013012694 | Metro Final Effluent | 2013-08-17 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 8
2013012700 | Metro Final Effluent | 2013-08-18 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 8
2013012788 | Metro Final Effluent | 2013-08-19 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 8
2013012914 | Metro Final Effluent | 2013-08-20 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 8
2013013011 | Metro Final Effluent | 2013-08-21 |  |  | 0.056 | 0.056 |  |  | 354 | TP | mg/L | 2013 | 8
2013013110 | Metro Final Effluent | 2013-08-22 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 8
2013013174 | Metro Final Effluent | 2013-08-23 |  |  | 0.112 | 0.112 |  | TP result verified. | 354 | TP | mg/L | 2013 | 8
2013013180 | Metro Final Effluent | 2013-08-24 |  |  | 0.078 | 0.078 |  |  | 354 | TP | mg/L | 2013 | 8
2013013186 | Metro Final Effluent | 2013-08-25 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 8
2013013271 | Metro Final Effluent | 2013-08-26 |  |  | 0.158 | 0.158 |  | TP result verified. | 354 | TP | mg/L | 2013 | 8
2013013348 | Metro Final Effluent | 2013-08-27 |  |  | 0.036 | 0.036 |  |  | 354 | TP | mg/L | 2013 | 8
2013013408 | Metro Final Effluent | 2013-08-28 |  |  | 0.047 | 0.047 |  | TKN lab duplicate: 0.808 mg/L. | 354 | TP | mg/L | 2013 | 8
2013013534 | Metro Final Effluent | 2013-08-29 |  |  | 0.081 | 0.081 |  |  | 354 | TP | mg/L | 2013 | 8
2013013583 | Metro Final Effluent | 2013-08-30 |  |  | 0.040 | 0.04 |  | NH3-N result repeated to verify. | 354 | TP | mg/L | 2013 | 8
2013013589 | Metro Final Effluent | 2013-08-31 |  |  | 0.073 | 0.073 |  |  | 354 | TP | mg/L | 2013 | 8
2013013595 | Metro Final Effluent | 2013-09-01 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 9
2013013613 | Metro Final Effluent | 2013-09-02 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 9
2013013672 | Metro Final Effluent | 2013-09-03 |  |  | 0.059 | 0.059 |  |  | 354 | TP | mg/L | 2013 | 9
2013013785 | Metro Final Effluent | 2013-09-04 |  |  | 0.068 | 0.068 |  | TKN: Duplicate result is 1.02mg/l. | 354 | TP | mg/L | 2013 | 9
2013013882 | Metro Final Effluent | 2013-09-05 |  |  | 0.074 | 0.074 |  |  | 354 | TP | mg/L | 2013 | 9
2013013961 | Metro Final Effluent | 2013-09-06 |  |  | 0.078 | 0.078 |  |  | 354 | TP | mg/L | 2013 | 9
2013013967 | Metro Final Effluent | 2013-09-07 |  |  | 0.072 | 0.072 |  |  | 354 | TP | mg/L | 2013 | 9
2013013973 | Metro Final Effluent | 2013-09-08 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 9
2013014056 | Metro Final Effluent | 2013-09-09 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 9
2013014198 | Metro Final Effluent | 2013-09-10 |  |  | 0.035 | 0.035 |  |  | 354 | TP | mg/L | 2013 | 9
2013014341 | Metro Final Effluent | 2013-09-11 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 9
2013014535 | Metro Final Effluent | 2013-09-12 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 9
2013014669 | Metro Final Effluent | 2013-09-13 |  |  | 0.067 | 0.067 |  |  | 354 | TP | mg/L | 2013 | 9
2013014675 | Metro Final Effluent | 2013-09-14 |  |  | 0.086 | 0.086 |  |  | 354 | TP | mg/L | 2013 | 9
2013014681 | Metro Final Effluent | 2013-09-15 |  |  | 0.069 | 0.069 |  |  | 354 | TP | mg/L | 2013 | 9
2013014766 | Metro Final Effluent | 2013-09-16 |  |  | 0.079 | 0.079 |  |  | 354 | TP | mg/L | 2013 | 9
2013014864 | Metro Final Effluent | 2013-09-17 |  |  | 0.081 | 0.081 |  |  | 354 | TP | mg/L | 2013 | 9
2013014904 | Metro Final Effluent | 2013-09-18 |  |  | 0.087 | 0.087 |  | Batch BOD seed control exceeded the DO depletion established for the method. | 354 | TP | mg/L | 2013 | 9
2013015047 | Metro Final Effluent | 2013-09-19 |  |  | 0.116 | 0.116 |  | TKN duplicate: 1.44 mg/L. TP result verified. | 354 | TP | mg/L | 2013 | 9
2013015085 | Metro Final Effluent | 2013-09-20 |  |  | 0.127 | 0.127 |  | TP result verified. | 354 | TP | mg/L | 2013 | 9
2013015091 | Metro Final Effluent | 2013-09-21 |  |  | 0.114 | 0.114 |  | TP result verified. | 354 | TP | mg/L | 2013 | 9
2013015097 | Metro Final Effluent | 2013-09-22 |  |  | 0.086 | 0.086 |  |  | 354 | TP | mg/L | 2013 | 9
2013015169 | Metro Final Effluent | 2013-09-23 |  |  | 0.076 | 0.076 |  |  | 354 | TP | mg/L | 2013 | 9
2013015282 | Metro Final Effluent | 2013-09-24 |  |  | 0.088 | 0.088 |  |  | 354 | TP | mg/L | 2013 | 9
2013015329 | Metro Final Effluent | 2013-09-25 |  |  | 0.081 | 0.081 |  | NH3-N reprepped 10/4. | 354 | TP | mg/L | 2013 | 9
2013015397 | Metro Final Effluent | 2013-09-26 |  |  | 0.097 | 0.097 |  |  | 354 | TP | mg/L | 2013 | 9
2013015434 | Metro Final Effluent | 2013-09-27 |  |  | 0.142 | 0.142 |  | TP result verified. | 354 | TP | mg/L | 2013 | 9
2013015440 | Metro Final Effluent | 2013-09-28 |  |  | 0.123 | 0.123 |  | TP result verified. | 354 | TP | mg/L | 2013 | 9
2013015446 | Metro Final Effluent | 2013-09-29 |  |  | 0.113 | 0.113 |  | TP result verified. | 354 | TP | mg/L | 2013 | 9
2013015589 | Metro Final Effluent | 2013-09-30 |  |  | 0.133 | 0.133 |  | TP result verified. | 354 | TP | mg/L | 2013 | 9
2013015659 | Metro Final Effluent | 2013-10-01 |  |  | 0.111 | 0.111 |  | TP result verified. | 354 | TP | mg/L | 2013 | 10
2013015712 | Metro Final Effluent | 2013-10-02 |  |  | 0.079 | 0.079 |  |  | 354 | TP | mg/L | 2013 | 10
2013015780 | Metro Final Effluent | 2013-10-03 |  |  | 0.131 | 0.131 |  | TP verified. | 354 | TP | mg/L | 2013 | 10
2013015856 | Metro Final Effluent | 2013-10-04 |  |  | 0.134 | 0.134 |  | TP verified. | 354 | TP | mg/L | 2013 | 10
2013015862 | Metro Final Effluent | 2013-10-05 |  |  | 0.085 | 0.085 |  |  | 354 | TP | mg/L | 2013 | 10
2013015868 | Metro Final Effluent | 2013-10-06 |  |  | 0.070 | 0.07 |  |  | 354 | TP | mg/L | 2013 | 10
2013016158 | Metro Final Effluent | 2013-10-07 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 10
2013016243 | Metro Final Effluent | 2013-10-08 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 10
2013016318 | Metro Final Effluent | 2013-10-09 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 10
2013016389 | Metro Final Effluent | 2013-10-10 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 10
2013016440 | Metro Final Effluent | 2013-10-11 |  |  | 0.067 | 0.067 |  |  | 354 | TP | mg/L | 2013 | 10
2013016446 | Metro Final Effluent | 2013-10-12 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 10
2013016452 | Metro Final Effluent | 2013-10-13 |  |  | 0.056 | 0.056 |  |  | 354 | TP | mg/L | 2013 | 10
2013016533 | Metro Final Effluent | 2013-10-14 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 10
2013016609 | Metro Final Effluent | 2013-10-15 |  |  | 0.066 | 0.066 |  | Batch CBOD seed control exceeded the DO depletion established for the method. | 354 | TP | mg/L | 2013 | 10
2013016705 | Metro Final Effluent | 2013-10-16 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 10
2013016785 | Metro Final Effluent | 2013-10-17 |  |  | 0.072 | 0.072 |  |  | 354 | TP | mg/L | 2013 | 10
2013016838 | Metro Final Effluent | 2013-10-18 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 10
2013016843 | Metro Final Effluent | 2013-10-19 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 10
2013016848 | Metro Final Effluent | 2013-10-20 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 10
2013016953 | Metro Final Effluent | 2013-10-21 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 10
2013017026 | Metro Final Effluent | 2013-10-22 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 10
2013017074 | Metro Final Effluent | 2013-10-23 |  |  | 0.057 | 0.057 |  |  | 354 | TP | mg/L | 2013 | 10
2013017150 | Metro Final Effluent | 2013-10-24 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 10
2013017204 | Metro Final Effluent | 2013-10-25 |  |  | 0.080 | 0.08 |  |  | 354 | TP | mg/L | 2013 | 10
2013017209 | Metro Final Effluent | 2013-10-26 |  |  | 0.046 | 0.046 |  |  | 354 | TP | mg/L | 2013 | 10
2013017214 | Metro Final Effluent | 2013-10-27 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 10
2013017299 | Metro Final Effluent | 2013-10-28 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 10
2013017413 | Metro Final Effluent | 2013-10-29 |  |  | 0.062 | 0.062 |  |  | 354 | TP | mg/L | 2013 | 10
2013017492 | Metro Final Effluent | 2013-10-30 |  |  | 0.086 | 0.086 |  |  | 354 | TP | mg/L | 2013 | 10
2013017543 | Metro Final Effluent | 2013-10-31 |  |  | 0.080 | 0.08 |  |  | 354 | TP | mg/L | 2013 | 10
2013017610 | Metro Final Effluent | 2013-11-01 |  |  | 0.066 | 0.066 |  |  | 354 | TP | mg/L | 2013 | 11
2013017615 | Metro Final Effluent | 2013-11-02 |  |  | 0.056 | 0.056 |  |  | 354 | TP | mg/L | 2013 | 11
2013017620 | Metro Final Effluent | 2013-11-03 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 11
2013017688 | Metro Final Effluent | 2013-11-04 |  |  | 0.056 | 0.056 |  |  | 354 | TP | mg/L | 2013 | 11
2013017797 | Metro Final Effluent | 2013-11-05 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 11
2013017868 | Metro Final Effluent | 2013-11-06 |  |  | 0.059 | 0.059 |  |  | 354 | TP | mg/L | 2013 | 11
2013017948 | Metro Final Effluent | 2013-11-07 |  |  | 0.075 | 0.075 |  | TKN reprepped 11/18. | 354 | TP | mg/L | 2013 | 11
2013018012 | Metro Final Effluent | 2013-11-08 |  |  | 0.059 | 0.059 |  | TKN reprepped 11/18. | 354 | TP | mg/L | 2013 | 11
2013018017 | Metro Final Effluent | 2013-11-09 |  |  | 0.039 | 0.039 |  |  | 354 | TP | mg/L | 2013 | 11
2013018022 | Metro Final Effluent | 2013-11-10 |  |  | 0.049 | 0.049 |  | TKN reprepped 11/18. | 354 | TP | mg/L | 2013 | 11
2013018048 | Metro Final Effluent | 2013-11-11 |  |  | 0.053 | 0.053 |  |  | 354 | TP | mg/L | 2013 | 11
2013018079 | Metro Final Effluent | 2013-11-12 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 11
2013018157 | Metro Final Effluent | 2013-11-13 |  |  | 0.067 | 0.067 |  |  | 354 | TP | mg/L | 2013 | 11
2013018252 | Metro Final Effluent | 2013-11-14 |  |  | 0.070 | 0.07 |  |  | 354 | TP | mg/L | 2013 | 11
2013018304 | Metro Final Effluent | 2013-11-15 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 11
2013018309 | Metro Final Effluent | 2013-11-16 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 11
2013018314 | Metro Final Effluent | 2013-11-17 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 11
2013018386 | Metro Final Effluent | 2013-11-18 |  |  | 0.057 | 0.057 |  |  | 354 | TP | mg/L | 2013 | 11
2013018451 | Metro Final Effluent | 2013-11-19 |  |  | 0.057 | 0.057 |  |  | 354 | TP | mg/L | 2013 | 11
2013018497 | Metro Final Effluent | 2013-11-20 |  |  | 0.060 | 0.06 |  |  | 354 | TP | mg/L | 2013 | 11
2013018553 | Metro Final Effluent | 2013-11-21 |  |  | 0.065 | 0.065 |  |  | 354 | TP | mg/L | 2013 | 11
2013018621 | Metro Final Effluent | 2013-11-22 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 11
2013018626 | Metro Final Effluent | 2013-11-23 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 11
2013018631 | Metro Final Effluent | 2013-11-24 |  |  | 0.072 | 0.072 |  |  | 354 | TP | mg/L | 2013 | 11
2013018717 | Metro Final Effluent | 2013-11-25 |  |  | 0.072 | 0.072 |  |  | 354 | TP | mg/L | 2013 | 11
2013018770 | Metro Final Effluent | 2013-11-26 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 11
2013018816 | Metro Final Effluent | 2013-11-27 |  |  | 0.064 | 0.064 |  |  | 354 | TP | mg/L | 2013 | 11
2013018821 | Metro Final Effluent | 2013-11-28 |  |  | 0.027 | 0.027 |  |  | 354 | TP | mg/L | 2013 | 11
2013018838 | Metro Final Effluent | 2013-11-29 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 11
2013018843 | Metro Final Effluent | 2013-11-30 |  |  | 0.042 | 0.042 |  |  | 354 | TP | mg/L | 2013 | 11
2013018848 | Metro Final Effluent | 2013-12-01 |  |  | 0.049 | 0.049 |  |  | 354 | TP | mg/L | 2013 | 12
2013018900 | Metro Final Effluent | 2013-12-02 |  |  | 0.051 | 0.051 |  |  | 354 | TP | mg/L | 2013 | 12
2013019026 | Metro Final Effluent | 2013-12-03 |  |  | 0.058 | 0.058 |  |  | 354 | TP | mg/L | 2013 | 12
2013019078 | Metro Final Effluent | 2013-12-04 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 12
2013019146 | Metro Final Effluent | 2013-12-05 |  |  | 0.050 | 0.05 |  |  | 354 | TP | mg/L | 2013 | 12
2013019237 | Metro Final Effluent | 2013-12-06 |  |  | 0.036 | 0.036 |  |  | 354 | TP | mg/L | 2013 | 12
2013019242 | Metro Final Effluent | 2013-12-07 |  |  | 0.038 | 0.038 |  |  | 354 | TP | mg/L | 2013 | 12
2013019247 | Metro Final Effluent | 2013-12-08 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 12
2013019308 | Metro Final Effluent | 2013-12-09 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 12
2013019361 | Metro Final Effluent | 2013-12-10 |  |  | 0.064 | 0.064 |  | Priority Pollutants | 354 | TP | mg/L | 2013 | 12
2013019407 | Metro Final Effluent | 2013-12-11 |  |  | 0.069 | 0.069 |  | TKN reset from NP & PC containers 12/19. | 354 | TP | mg/L | 2013 | 12
2013019470 | Metro Final Effluent | 2013-12-12 |  |  | 0.061 | 0.061 |  |  | 354 | TP | mg/L | 2013 | 12
2013019527 | Metro Final Effluent | 2013-12-13 |  |  | 0.068 | 0.068 |  |  | 354 | TP | mg/L | 2013 | 12
2013019532 | Metro Final Effluent | 2013-12-14 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 12
2013019537 | Metro Final Effluent | 2013-12-15 |  |  | 0.048 | 0.048 |  |  | 354 | TP | mg/L | 2013 | 12
2013019607 | Metro Final Effluent | 2013-12-16 |  |  | 0.055 | 0.055 |  |  | 354 | TP | mg/L | 2013 | 12
2013019676 | Metro Final Effluent | 2013-12-17 |  |  | 0.059 | 0.059 |  |  | 354 | TP | mg/L | 2013 | 12
2013019719 | Metro Final Effluent | 2013-12-18 |  |  | 0.054 | 0.054 |  |  | 354 | TP | mg/L | 2013 | 12
2013019805 | Metro Final Effluent | 2013-12-19 |  |  | 0.052 | 0.052 |  | TKN reprepped on 12/26. | 354 | TP | mg/L | 2013 | 12
2013019848 | Metro Final Effluent | 2013-12-20 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 12
2013019853 | Metro Final Effluent | 2013-12-21 |  |  | 0.041 | 0.041 |  |  | 354 | TP | mg/L | 2013 | 12
2013019858 | Metro Final Effluent | 2013-12-22 |  |  | 0.035 | 0.035 |  |  | 354 | TP | mg/L | 2013 | 12
2013019932 | Metro Final Effluent | 2013-12-23 |  |  | 0.034 | 0.034 |  |  | 354 | TP | mg/L | 2013 | 12
2013020014 | Metro Final Effluent | 2013-12-24 |  |  | 0.063 | 0.063 |  |  | 354 | TP | mg/L | 2013 | 12
2013020020 | Metro Final Effluent | 2013-12-25 |  |  | 0.032 | 0.032 |  |  | 354 | TP | mg/L | 2013 | 12
2013020060 | Metro Final Effluent | 2013-12-26 |  |  | 0.036 | 0.036 |  |  | 354 | TP | mg/L | 2013 | 12
2013020117 | Metro Final Effluent | 2013-12-27 |  |  | 0.052 | 0.052 |  |  | 354 | TP | mg/L | 2013 | 12
2013020122 | Metro Final Effluent | 2013-12-28 |  |  | 0.041 | 0.041 |  |  | 354 | TP | mg/L | 2013 | 12
2013020127 | Metro Final Effluent | 2013-12-29 |  |  | 0.042 | 0.042 |  |  | 354 | TP | mg/L | 2013 | 12
2013020180 | Metro Final Effluent | 2013-12-30 |  |  | 0.043 | 0.043 |  | TP reprepped 1/7. | 354 | TP | mg/L | 2013 | 12
2014000025 | Metro Final Effluent | 2013-12-31 |  |  | 0.045 | 0.045 |  |  | 354 | TP | mg/L | 2013 | 12

## Monthly Avg
[7 empty] | Rolling | Target limit from | Text | Time Period | Markers start | Markers start | Month
YEAR | Month |  | Units | AvgTP | MinTP | MaxTP | Avg 12 months | 4/1/06 through 2007 | Month | of Average | calc | compliance | Lookup
2005 | 1 |  | mg/l | 0.3871 | 0.13 | 0.79 |  |  | Jan
2005 | 2 |  | mg/l | 0.20964 | 0.06 | 0.56 |  |  | Feb |  |  |  | 1 | Jan
2005 | 3 |  | mg/l | 0.139 | 0.08 | 0.27 |  |  | Mar |  |  |  | 2 | Feb
2005 | 4 |  | mg/l | 0.15533 | 0.08 | 0.33 |  |  | Apr |  |  |  | 3 | Mar
2005 | 5 |  | mg/l | 0.27516 | 0.13 | 0.42 |  |  | May |  |  |  | 4 | Apr
2005 | 6 |  | mg/l | 0.2631 | 0.16 | 0.38 |  |  | Jun |  |  |  | 5 | May
2005 | 7 |  | mg/l | 0.16475 | 0.11 | 0.29 |  |  | Jul |  |  |  | 6 | Jun
2005 | 8 |  | mg/l | 0.20166 | 0.05 | 0.86 |  |  | Aug |  |  |  | 7 | Jul
2005 | 9 |  | mg/l | 0.12058 | 0.07 | 0.19 |  |  | Sep |  |  |  | 8 | Aug
2005 | 10 |  | mg/l | 0.12194 | 0.07 | 0.26 |  |  | Oct |  |  |  | 9 | Sep
2005 | 11 |  | mg/l | 0.134 | 0.07 | 0.2 |  |  | Nov |  |  |  | 10 | Oct
2005 | 12 |  | mg/l | 0.16267 | 0.08 | 0.26 |  |  | Dec |  |  |  | 11 | Nov
2006 | 1 |  | mg/L | 0.20032 | 0.11 | 0.41 | 0.17901 |  | Jan | Avg of Feb 2005 to Jan 2006 |  |  | 12 | Dec
2006 | 2 |  | mg/l | 0.17607 | 0.1 | 0.32 | 0.17622 |  | Feb | Avg of Mar 2005 to Feb 2006
2006 | 3 |  | mg/l | 0.19 | 0.11 | 0.62 | 0.18047 |  | Mar | Avg of Apr 2005 to Mar 2006
2006 | 4 |  | mg/l | 0.105 | 0.07 | 0.16 | 0.17627 |  | Apr | Avg of May 2005 to Apr 2006 | 0.12
2006 | 5 |  | mg/l | 0.11355 | 0.07 | 0.17 | 0.1628 |  | May | Avg of Jun 2005 to May 2006
2006 | 6 |  | mg/L | 0.080667 | 0.05 | 0.16 | 0.1476 |  | Jun | Avg of Jul 2005 to Jun 2006
2006 | 7 |  | mg/L | 0.098094 | 0.059 | 0.13 | 0.14205 |  | Jul | Avg of Aug 2005 to Jul 2006
2006 | 8 |  | mg/L | 0.09325 | 0.06 | 0.14 | 0.13301 |  | Aug | Avg of Sep 2005 to Aug 2006
2006 | 9 |  | mg/L | 0.091871 | 0.05 | 0.14 | 0.13062 |  | Sep | Avg of Oct 2005 to Sep 2006
2006 | 10 |  | mg/L | 0.11516 | 0.06 | 0.16 | 0.13005 |  | Oct | Avg of Nov 2005 to Oct 2006
2006 | 11 |  | mg/L | 0.11867 | 0.06 | 0.19 | 0.12878 |  | Nov | Avg of Dec 2005 to Nov 2006
2006 | 12 |  | mg/L | 0.12097 | 0.06 | 0.18 | 0.1253 |  | Dec | Avg of Jan 2006 to Dec 2006
2007 | 1 | TP | mg/L | 0.10774 | 0.08 | 0.21 | 0.11759 |  | Jan | Avg of Feb 2006 to Jan 2007
2007 | 2 | TP | mg/L | 0.13607 | 0.09 | 0.21 | 0.11425 |  | Feb | Avg of Mar 2006 to Feb 2007
2007 | 3 | TP | mg/L | 0.16226 | 0.08 | 0.35 | 0.11194 |  | Mar | Avg of Apr 2006 to Mar 2007
2007 | 4 | TP | mg/L | 0.135 | 0.06 | 0.29 | 0.11444 | 0.12 | Apr | Avg of May 2006 to Apr 2007 |  | 0.12
2007 | 5 | TP | mg/L | 0.096774 | 0.05 | 0.13 | 0.11304 | 0.12 | May | Avg of Jun 2006 to May 2007
2007 | 6 | TP | mg/L | 0.13467 | 0.07 | 0.2 | 0.11754 | 0.12 | Jun | Avg of Jul 2006 to Jun 2007
2007 | 7 | TP | mg/L | 0.14045 | 0.07 | 0.22 | 0.12107 | 0.12 | Jul | Avg of Aug 2006 to Jul 2007
2007 | 8 | TP | mg/L | 0.11509 | 0.07 | 0.16 | 0.12289 | 0.12 | Aug | Avg of Sep 2006 to Aug 2007
2007 | 9 | TP | mg/L | 0.12171 | 0.083 | 0.2 | 0.12538 | 0.12 | Sep | Avg of Oct 2006 to Sep 2007
2007 | 10 | TP | mg/L | 0.092548 | 0.063 | 0.15 | 0.1235 | 0.12 | Oct | Avg of Nov 2006 to Oct 2007
2007 | 11 | TP | mg/L | 0.096733 | 0.07 | 0.14 | 0.12167 | 0.12 | Nov | Avg of Dec 2006 to Nov 2007
2007 | 12 | TP | mg/L | 0.081613 | 0.048 | 0.13 | 0.11839 | 0.12 | Dec | Avg of Jan 2007 to Dec 2007
2008 | 1 | TP | mg/L | 0.095581 | 0.059 | 0.143 | 0.11738 | 0.12 | Jan | Avg of Feb 2007 to Jan 2008
2008 | 2 | TP | mg/L | 0.095 | 0.066 | 0.129 | 0.11395 | 0.12 | Feb | Avg of Mar 2007 to Feb 2008
2008 | 3 | TP | mg/L | 0.082276 | 0.042 | 0.133 | 0.10729 | 0.12 | Mar | Avg of Apr 2007 to Mar 2008
2008 | 4 | TP | mg/L | 0.074867 | 0.046 | 0.105 | 0.10228 | 0.12 | Apr | Avg of May 2007 to Apr 2008
2008 | 5 | TP | mg/L | 0.089452 | 0.066 | 0.135 | 0.10167 | 0.12 | May | Avg of Jun 2007 to May 2008
2008 | 6 | TP | mg/L | 0.083167 | 0.051 | 0.116 | 0.097374 | 0.12 | Jun | Avg of Jul 2007 to Jun 2008
2008 | 7 | TP | mg/L | 0.090129 | 0.05 | 0.131 | 0.093181 | 0.12 | Jul | Avg of Aug 2007 to Jul 2008
2008 | 8 | TP | mg/L | 0.10903 | 0.064 | 0.142 | 0.092676 | 0.12 | Aug | Avg of Sep 2007 to Aug 2008
2008 | 9 | TP | mg/L | 0.1292 | 0.078 | 0.184 | 0.0933 | 0.12 | Sep | Avg of Oct 2007 to Sep 2008
2008 | 10 | TP | mg/L | 0.095871 | 0.066 | 0.128 | 0.093577 | 0.12 | Oct | Avg of Nov 2007 to Oct 2008
2008 | 11 | TP | mg/L | 0.0802 | 0.055 | 0.125 | 0.092199 | 0.12 | Nov | Avg of Dec 2007 to Nov 2008
2008 | 12 | TP | mg/L | 0.066258 | 0.05 | 0.094 | 0.090919 | 0.12 | Dec | Avg of Jan 2008 to Dec 2008
2009 | 1 | TP | mg/L | 0.0592 | 0.05 | 0.084 | 0.087888 | 0.12 | Jan | Avg of Feb 2008 to Jan 2009
2009 | 2 | TP | mg/L | 0.071464 | 0.045 | 0.12 | 0.085926 | 0.12 | Feb | Avg of Mar 2008 to Feb 2009
2009 | 3 | TP | mg/L | 0.06271 | 0.036 | 0.092 | 0.084296 | 0.12 | Mar | Avg of Apr 2008 to Mar 2009
2009 | 4 | TP | mg/L | 0.064333 | 0.043 | 0.11 | 0.083418 | 0.12 | Apr | Avg of May 2008 to Apr 2009
2009 | 5 | TP | mg/L | 0.097806 | 0.069 | 0.128 | 0.084114 | 0.12 | May | Avg of Jun 2008 to May 2009
2009 | 6 | TP | mg/L | 0.090667 | 0.05 | 0.128 | 0.084739 | 0.12 | Jun | Avg of Jul 2008 to Jun 2009
2009 | 7 | TP | mg/L | 0.090968 | 0.062 | 0.12 | 0.084809 | 0.12 | Jul | Avg of Aug 2008 to Jul 2009
2009 | 8 | TP | mg/L | 0.091875 | 0.056 | 0.123 | 0.083379 | 0.12 | Aug | Avg of Sep 2008 to Aug 2009
2009 | 9 | TP | mg/L | 0.093667 | 0.051 | 0.174 | 0.080418 | 0.12 | Sep | Avg of Oct 2008 to Sep 2009
2009 | 10 | TP | mg/L | 0.090774 | 0.066 | 0.125 | 0.079994 | 0.12 | Oct | Avg of Nov 2008 to Oct 2009
2009 | 11 | TP | mg/L | 0.10483 | 0.074 | 0.148 | 0.082046 | 0.12 | Nov | Avg of Dec 2008 to Nov 2009 | 0.1
2009 | 12 | TP | mg/L | 0.091419 | 0.062 | 0.123 | 0.084143 | 0.12 | Dec | Avg of Jan 2009 to Dec 2009
2010 | 1 | TP | mg/L | 0.097516 | 0.054 | 0.181 | 0.087336 | 0.12 | Jan | Avg of Feb 2009 to Jan 2010
2010 | 2 | TP | mg/L | 0.085607 | 0.068 | 0.098 | 0.088515 | 0.12 | Feb | Avg of Mar 2009 to Feb 2010
2010 | 3 | TP | mg/L | 0.073964 | 0.049 | 0.176 | 0.089453 | 0.12 | Mar | Avg of Apr 2009 to Mar 2010
2010 | 4 | TP | mg/L | 0.062667 | 0.034 | 0.082 | 0.089314 | 0.12 | Apr | Avg of May 2009 to Apr 2010
2010 | 5 | TP | mg/L | 0.081806 | 0.031 | 0.126 | 0.08798 | 0.12 | May | Avg of Jun 2009 to May 2010
2010 | 6 | TP | mg/L | 0.0766 | 0.036 | 0.143 | 0.086808 | 0.12 | Jun | Avg of Jul 2009 to Jun 2010
2010 | 7 | TP | mg/L | 0.093065 | 0.058 | 0.16 | 0.086983 | 0.12 | Jul | Avg of Aug 2009 to Jul 2010
2010 | 8 | TP | mg/L | 0.079516 | 0.043 | 0.11 | 0.085953 | 0.12 | Aug | Avg of Sep 2009 to Aug 2010
2010 | 9 | TP | mg/L | 0.082833 | 0.041 | 0.222 | 0.08505 | 0.12 | Sep | Avg of Oct 2009 to Sep 2010
2010 | 10 | TP | mg/L | 0.074774 | 0.026 | 0.115 | 0.083717 | 0.12 | Oct | Avg of Nov 2009 to Oct 2010
2010 | 11 | TP | mg/L | 0.095903 | 0.065 | 0.141 | 0.082973 | 0.1 | Nov | Avg of Dec 2009 to Nov 2010 |  | 0.1
2010 | 12 | TP | mg/L | 0.063187 | 0.038 | 0.099 | 0.08062 | 0.1 | Dec | Avg of Jan 2010 to Dec 2010
2011 | 1 | TP | mg/L | 0.097032 | 0.062 | 0.152 | 0.08058 | 0.1 | Jan | Avg of Feb 2010 to Jan 2011
2011 | 2 | TP | mg/L | 0.11389 | 0.079 | 0.161 | 0.082937 | 0.1 | Feb | Avg of Mar 2010 to Feb 2011
2011 | 3 | TP | mg/L | 0.073032 | 0.038 | 0.207 | 0.082859 | 0.1 | Mar | Avg of Apr 2010 to Mar 2011
2011 | 4 | TP | mg/L | 0.056533 | 0.03 | 0.101 | 0.082348 | 0.1 | Apr | Avg of May 2010 to Apr 2011
2011 | 5 | TP | mg/L | 0.062032 | 0.038 | 0.148 | 0.0807 | 0.1 | May | Avg of Jun 2010 to May 2011
2011 | 6 | TP | mg/L | 0.0791 | 0.043 | 0.11 | 0.080908 | 0.1 | Jun | Avg of Jul 2010 to Jun 2011
2011 | 7 | TP | mg/L | 0.10503 | 0.055 | 0.177 | 0.081906 | 0.1 | Jul | Avg of Aug 2010 to Jul 2011
2011 | 8 | TP | mg/L | 0.080581 | 0.036 | 0.116 | 0.081995 | 0.1 | Aug | Avg of Sep 2010 to Aug 2011
2011 | 9 | TP | mg/L | 0.079133 | 0.052 | 0.102 | 0.081686 | 0.1 | Sep | Avg of Oct 2010 to Sep 2011
2011 | 10 | TP | mg/L | 0.082452 | 0.038 | 0.284 | 0.082326 | 0.1 | Oct | Avg of Nov 2010 to Oct 2011
2011 | 11 | TP | mg/L | 0.083367 | 0.027 | 0.254 | 0.081281 | 0.1 | Nov | Avg of Dec 2010 to Nov 2011
2011 | 12 | TP | mg/L | 0.061387 | 0.041 | 0.086 | 0.081131 | 0.1 | Dec | Avg of Jan 2011 to Dec 2011
2012 | 1 | TP | mg/L | 0.070094 | 0.033 | 0.256 | 0.078886 | 0.1 | Jan | Avg of Feb 2011 to Jan 2012
2012 | 2 | TP | mg/L | 0.098862 | 0.05 | 0.172 | 0.077634 | 0.1 | Feb | Avg of Mar 2011 to Feb 2012
2012 | 3 | TP | mg/L | 0.1071 | 0.061 | 0.241 | 0.080472 | 0.1 | Mar | Avg of Apr 2011 to Mar 2012
2012 | 4 | TP | mg/L | 0.14043 | 0.073 | 0.253 | 0.087464 | 0.1 | Apr | Avg of May 2011 to Apr 2012
2012 | 5 | TP | mg/L | 0.12429 | 0.072 | 0.196 | 0.092652 | 0.1 | May | Avg of Jun 2011 to May 2012
2012 | 6 | TP | mg/L | 0.12246 | 0.073 | 0.22 | 0.096265 | 0.1 | Jun | Avg of Jul 2011 to Jun 2012
2012 | 7 | TP | mg/L | 0.089645 | 0.067 | 0.169 | 0.094983 | 0.1 | Jul | Avg of Aug 2011 to Jul 2012
2012 | 8 | TP | mg/L | 0.080935 | 0.035 | 0.126 | 0.095013 | 0.1 | Aug | Avg of Sep 2011 to Aug 2012
2012 | 9 | TP | mg/L | 0.064467 | 0.037 | 0.151 | 0.093791 | 0.1 | Sep | Avg of Oct 2011 to Sep 2012
2012 | 10 | TP | mg/L | 0.066194 | 0.036 | 0.1 | 0.092436 | 0.1 | Oct | Avg of Nov 2011 to Oct 2012
2012 | 11 | TP | mg/L | 0.067833 | 0.048 | 0.097 | 0.091141 | 0.1 | Nov | Avg of Dec 2011 to Nov 2012
2012 | 12 | TP | mg/L | 0.062194 | 0.035 | 0.084 | 0.091208 | 0.1 | Dec | Avg of Jan 2012 to Dec 2012
2013 | 1 | TP | mg/L | 0.052806 | 0.022 | 0.086 | 0.089768 | 0.1 | Jan | Avg of Feb 2012 to Jan 2013
2013 | 2 | TP | mg/L | 0.046179 | 0.031 | 0.063 | 0.085378 | 0.1 | Feb | Avg of Mar 2012 to Feb 2013
2013 | 3 | TP | mg/L | 0.050759 | 0.035 | 0.088 | 0.080683 | 0.1 | Mar | Avg of Apr 2012 to Mar 2013
2013 | 4 | TP | mg/L | 0.049367 | 0.04 | 0.074 | 0.073094 | 0.1 | Apr | Avg of May 2012 to Apr 2013
2013 | 5 | TP | mg/L | 0.053645 | 0.039 | 0.103 | 0.067207 | 0.1 | May | Avg of Jun 2012 to May 2013
2013 | 6 | TP | mg/L | 0.047667 | 0.022 | 0.08 | 0.060974 | 0.1 | Jun | Avg of Jul 2012 to Jun 2013
2013 | 7 | TP | mg/L | 0.068097 | 0.05 | 0.122 | 0.059178 | 0.1 | Jul | Avg of Aug 2012 to Jul 2013
2013 | 8 | TP | mg/L | 0.070968 | 0.036 | 0.158 | 0.058348 | 0.1 | Aug | Avg of Sep 2012 to Aug 2013
2013 | 9 | TP | mg/L | 0.0833 | 0.035 | 0.142 | 0.059917 | 0.1 | Sep | Avg of Oct 2012 to Sep 2013
2013 | 10 | TP | mg/L | 0.071419 | 0.046 | 0.134 | 0.060353 | 0.1 | Oct | Avg of Nov 2012 to Oct 2013
2013 | 11 | TP | mg/L | 0.057133 | 0.027 | 0.075 | 0.059461 | 0.1 | Nov | Avg of Dec 2012 to Nov 2013
2013 | 12 | TP | mg/L | 0.049677 | 0.032 | 0.069 | 0.058418 | 0.1 | Dec | Avg of Jan 2013 to Dec 2013

## Final 04-13
Figure 4-13. Metro effluent TP concentrations compared to permit limits for the 2006-2013 interval.
Concentrations are monthly rolling average values for 12 months intervals.
As of April 1, 2007, Metro effluent compliance for total phosphorus concentration is calculated as a rolling average of the previous 12 months. For example, the first data point of compliance with the 0.12 mg/l limit (April 1, 2007) represents the 12-month average from April 1, 2006 through March 31, 2007. The 0.12 mg/l limit was in effect from 4/1/07 through 11/1/10. Starting 11/1/10, the 0.10 mg/l limit was in effect. Diamond-shaped markers below the red line are in compliance with the applicable limit.