## Table 4.2, Table 4.3
From historical loads.xls XTLOADs tab
Mean Daily Loads by Site, Variable, & Year | [16 empty] | Additional Parameters
|  |  |  | Table 4-2. Annual loading of selected water quality constituents to Onondaga Lake, 2013, Onondaga Lake tributaries. | [21 empty] | Table 4-3. Percent annual loading contribution to Onondaga Lake from gauged inflows, 2013.
|  |  |  | Parameter* | TP |  | TDP |  | TN |  | NH3-N |  | TSS |  | F. coli bacteria |  | SRP |  | NO3-N | NO2-N | ORG-N | Water | Water | TN | TN | Parameter* | TP | TDP | TN | NH3-N | TSS | F. coli bacteria | Water | SRP | NO3-N
|  |  |  | Units | mt | (N) | mt | (N) | mt | (N) | mt | (N) | mt | (N) | 1010 cfu | (N) | mt | (N) | mt | mt | mt | hm3 | L | mg | mg/L
|  |  |  | METRO | 5.306 | 363 | 1.5948 | 249 | 1199.3877 | 363 | 23.1838 | 363 | 465.2384 | 363 | 21319.2879 | 210 | 0.16062 | 249 | 1100.1231 | 3.063 | 73.0178 | 76.1 | 76100000000 | 1.1994e+12 | 15.7607 | METRO | 12.96% | 19.84% | 64.22% | 27.57% | 1.598% | 3.73% | 23.84% | 3.934% | 75.43%
|  |  |  | BYPASS | 1.9355 | 56 | 0.56013 |  | 21.8214 | 56 | 12.1913 | 56 | 105.423 | 56 | 117798.7472 | 46 | 0.42913 | 22 | 1.8767 | 0.16763 | 7.5858 | 1 | 1000000000 | 21821422005.0643 | 21.8214 | BYPASS | 4.729% | 6.969% | 1.168% | 14.5% | 0.3622% | 20.61% | 0.3133% | 10.51% | 0.1287%
|  |  |  | EFLUME | 0.077889 | 8 | 0.064486 | 8 | 4.7499 | 8 | 0.18793 | 8 | 7.4561 | 8 | 57.1022 | 18 | 0.060969 | 8 | 3.3401 | 0.93895 | 0.28295 | 0.6 | 600000000 | 4749946040.9745 | 7.9166 | EFLUME | 0.1903% | 0.8024% | 0.2543% | 0.2235% | 0.02561% | 0.00999% | 0.188% | 1.493% | 0.229%
|  |  |  | HIAWATHA | 0.71658 | 28 | 0.2334 | 28 | 19.5848 | 28 | 0.93418 | 28 | 210.3622 | 28 | 18538.2531 | 73 | 0.19096 | 28 | 13.7048 | 0.14361 | 4.8023 | 7 | 7000000000 | 19584818215.1531 | 2.7978 | HIAWATHA | 1.751% | 2.904% | 1.049% | 1.111% | 0.7227% | 3.243% | 2.193% | 4.678% | 0.9397%
|  |  |  | PARK | 3.3445 | 27 | 0.90906 | 26 | 42.6456 | 27 | 8.9222 | 27 | 867.5269 | 27 | 94293.6588 | 67 | 0.53359 | 27 | 10.9872 | 0.66578 | 22.0705 | 26.6 | 26600000000 | 42645637177.9641 | 1.6032 | PARK | 8.172% | 11.31% | 2.283% | 10.61% | 2.98% | 16.5% | 8.333% | 13.07% | 0.7534%
SEASON | (All) |  |  | RT48 | 14.0164 | 28 | 2.3251 | 28 | 268.8034 | 28 | 27.0035 | 28 | 13145.8855 | 28 | 110793.2876 | 65 | 1.3523 | 27 | 139.4889 | 2.9492 | 99.3618 | 97.6 | 97600000000 | 268803367798.9151 | 2.7541 | RT48 | 34.25% | 28.93% | 14.39% | 32.12% | 45.16% | 19.38% | 30.58% | 33.13% | 9.565%
|  |  |  | KIRKPAT | 15.5014 | 28 | 2.3401 | 28 | 310.0981 | 28 | 11.5993 | 28 | 14303.6901 | 28 | 208771.213 | 65 | 1.3474 | 28 | 188.5036 | 3.787 | 106.2082 | 110 | 110000000000 | 310098060954.1293 | 2.8191 | KIRKPAT | 37.87% | 29.12% | 16.6% | 13.8% | 49.14% | 36.52% | 34.46% | 33% | 12.93%
|  | YEAR | Data | TRIB5A | 0.030229 | 27 | 0.0099331 | 27 | 0.56054 | 27 | 0.057034 | 27 | 3.6964 | 27 | 21.2955 | 65 | 0.0074766 | 27 | 0.35101 | 0.0063863 | 0.14611 | 0.3 | 300000000 | 560535838.4919 | 1.8685 | TRIB5A | 0.07386% | 0.1236% | 0.03001% | 0.06783% | 0.0127% | 0.003726% | 0.09398% | 0.1831% | 0.02407%
|  | 2013 |  | SUM | 40.9285 | -- | 8.0371 | -- | 1867.6515 | -- | 84.0792 | -- | 29109.2786 | -- | 571592.8454 | -- | 4.0824 |  | 1458.3753 | 11.7215 | 313.4755 | 319.2 |  |  |  | SUM | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
VARIABLE | SITE | Sum of LOAD | Count of CONC_SAMPLED | * caluclated from the sum of NO3-N, NO2-N, NH3-N, and ORG-N | [21 empty] | %s for Eflume and T5A are backwards from County's tables
FCOLI | BYPASS | 117798.7472 | 46 | [22 empty] | correct here
| EFLUME | 57.1022 | 18
| HIAWATHA | 18538.2531 | 73
| KIRKPAT | 208771.213 | 65
| METRO | 21319.2879 | 210
| PARK | 94293.6588 | 67
| RT48 | 110793.2876 | 65
| TRIB5A | 21.2955 | 65
NH3N | BYPASS | 12.1913 | 56
| EFLUME | 0.18793 | 8
| HIAWATHA | 0.93418 | 28
| KIRKPAT | 11.5993 | 28
| METRO | 23.1838 | 363
| PARK | 8.9222 | 27
| RT48 | 27.0035 | 28
| TRIB5A | 0.057034 | 27
NO2N | BYPASS | 0.16763 | 5
| EFLUME | 0.93895 | 8
| HIAWATHA | 0.14361 | 27
| KIRKPAT | 3.787 | 27
| METRO | 3.063 | 77
| PARK | 0.66578 | 26
| RT48 | 2.9492 | 27
| TRIB5A | 0.0063863 | 26
NO3N | BYPASS | 1.8767 | 5
| EFLUME | 3.3401 | 8
| HIAWATHA | 13.7048 | 27
| KIRKPAT | 188.5036 | 27
| METRO | 1100.1231 | 77
| PARK | 10.9872 | 26
| RT48 | 139.4889 | 27
| TRIB5A | 0.35101 | 26
ORGN | BYPASS | 7.5858 | 6
| EFLUME | 0.28295 | 8
| HIAWATHA | 4.8023 | 28
| KIRKPAT | 106.2082 | 28
| METRO | 73.0178 | 28
| PARK | 22.0705 | 27
| RT48 | 99.3618 | 28
| TRIB5A | 0.14611 | 27
SRP | BYPASS | 0.42913 | 22
| EFLUME | 0.060969 | 8
| HIAWATHA | 0.19096 | 28
| KIRKPAT | 1.3474 | 28
| METRO | 0.16062 | 249
| PARK | 0.53359 | 27
| RT48 | 1.3523 | 27
| TRIB5A | 0.0074766 | 27
TDP | BYPASS | 0.56013 | 6
| EFLUME | 0.064486 | 8
| HIAWATHA | 0.2334 | 28
| KIRKPAT | 2.3401 | 28
| METRO | 1.5948 | 249
| PARK | 0.90906 | 26
| RT48 | 2.3251 | 28
| TRIB5A | 0.0099331 | 27
TKN | BYPASS | 19.2706 | 56
| EFLUME | 0.45636 | 8
| HIAWATHA | 5.828 | 27
| KIRKPAT | 120.9116 | 27
| METRO | 106.8736 | 363
| PARK | 30.9847 | 27
| RT48 | 128.3306 | 27
| TRIB5A | 0.20274 | 26
TP | BYPASS | 1.9355 | 56
| EFLUME | 0.077889 | 8
| HIAWATHA | 0.71658 | 28
| KIRKPAT | 15.5014 | 28
| METRO | 5.306 | 363
| PARK | 3.3445 | 27
| RT48 | 14.0164 | 28
| TRIB5A | 0.030229 | 27
TSS | BYPASS | 105.423 | 56
| EFLUME | 7.4561 | 8
| HIAWATHA | 210.3622 | 28
| KIRKPAT | 14303.6901 | 28
| METRO | 465.2384 | 363
| PARK | 867.5269 | 27
| RT48 | 13145.8855 | 28
| TRIB5A | 3.6964 | 27

## Table 4.4
From historical loads.xls XTCONCs tab
Flow-Wtd Concentrations by Variable, Site, & Year |  |  |  | Table 4-4. Flow-weighted average concentration of selected constituents, 2012, Onondaga Lake tributaries.
|  |  |  | Parameter* | TP |  | TDP |  | TN |  | NH3-N |  | TSS |  | F. coli bacteria |  | SRP |  | NO3-N
|  |  |  | Units | µg/l | (N) | µg/l | (N) | mg/l | (N) | mg/l | (N) | mg/l | (N) | cells/100ml | (N) | µg/l | (N) | mg/l | (N)
|  |  |  | METRO | 57.4562 | 363 | 17.2696 | 249 | 15.7607 | 363 | 0.25105 | 363 | 5.0378 | 363 | 230.8557 | 210 | 11912.6736 | 77 | 0.033168 | 77
|  |  |  | BYPASS | 1142.3502 | 56 | 330.5954 | 6 | 21.8214 | 56 | 7.1954 | 56 | 62.2217 | 56 | 69525.9786 | 46 | 1107.6313 | 5 | 0.098937 | 5
|  |  |  | EFLUME | 166.4242 | 8 | 137.7858 | 8 | 7.9166 | 8 | 0.40155 | 8 | 15.9313 | 8 | 122.0088 | 18 | 7136.7541 | 8 | 2.0062 | 8
|  |  |  | HIAWATHA | 73.5068 | 28 | 23.9426 | 28 | 2.7978 | 28 | 0.095828 | 28 | 21.5789 | 28 | 1901.6469 | 73 | 1405.8296 | 27 | 0.014732 | 27
|  |  |  | PARK | 86.8691 | 27 | 23.6119 | 26 | 1.6032 | 27 | 0.23174 | 27 | 22.533 | 27 | 2449.1701 | 67 | 285.3793 | 26 | 0.017293 | 26
|  |  |  | RT48 | 93.9027 | 28 | 15.5772 | 28 | 2.7541 | 28 | 0.18091 | 28 | 88.0707 | 28 | 742.258 | 65 | 934.5036 | 27 | 0.019758 | 27
SEASON | (All) |  |  | KIRKPAT | 91.7111 | 28 | 13.8447 | 28 | 2.8191 | 28 | 0.068625 | 28 | 84.6251 | 28 | 1235.1556 | 65 | 1115.2461 | 27 | 0.022405 | 27
|  |  |  | TRIB5A | 87.1487 | 27 | 28.6361 | 27 | 1.8685 | 27 | 0.16442 | 27 | 10.6563 | 27 | 61.3931 | 65 | 1011.921 | 26 | 0.018411 | 26
|  | YEAR | Data
|  | 2013 |  | * caluclated from site TN load divided by site total water volume
VARIABLE | SITE | Sum of CONC_QW | Count of CONC_SAMPLED
FCOLI | BYPASS | 69525.9786 | 46
| EFLUME | 122.0088 | 18
| HIAWATHA | 1901.6469 | 73
| KIRKPAT | 1235.1556 | 65
| METRO | 230.8557 | 210
| PARK | 2449.1701 | 67
| RT48 | 742.258 | 65
| TRIB5A | 61.3931 | 65
NH3N | BYPASS | 7.1954 | 56
| EFLUME | 0.40155 | 8
| HIAWATHA | 0.095828 | 28
| KIRKPAT | 0.068625 | 28
| METRO | 0.25105 | 363
| PARK | 0.23174 | 27
| RT48 | 0.18091 | 28
| TRIB5A | 0.16442 | 27
NO2N | BYPASS | 0.098937 | 5
| EFLUME | 2.0062 | 8
| HIAWATHA | 0.014732 | 27
| KIRKPAT | 0.022405 | 27
| METRO | 0.033168 | 77
| PARK | 0.017293 | 26
| RT48 | 0.019758 | 27
| TRIB5A | 0.018411 | 26
NO3N | BYPASS | 1.1076 | 5
| EFLUME | 7.1368 | 8
| HIAWATHA | 1.4058 | 27
| KIRKPAT | 1.1152 | 27
| METRO | 11.9127 | 77
| PARK | 0.28538 | 26
| RT48 | 0.9345 | 27
| TRIB5A | 1.0119 | 26
ORGN | BYPASS | 4.4772 | 6
| EFLUME | 0.60456 | 8
| HIAWATHA | 0.49261 | 28
| KIRKPAT | 0.62836 | 28
| METRO | 0.79067 | 28
| PARK | 0.57326 | 27
| RT48 | 0.66567 | 28
| TRIB5A | 0.42122 | 27
SRP | BYPASS | 0.25328 | 22
| EFLUME | 0.13027 | 8
| HIAWATHA | 0.019588 | 28
| KIRKPAT | 0.0079715 | 28
| METRO | 0.0017392 | 249
| PARK | 0.013859 | 27
| RT48 | 0.0090599 | 27
| TRIB5A | 0.021554 | 27
TDP | BYPASS | 0.3306 | 6
| EFLUME | 0.13779 | 8
| HIAWATHA | 0.023943 | 28
| KIRKPAT | 0.013845 | 28
| METRO | 0.01727 | 249
| PARK | 0.023612 | 26
| RT48 | 0.015577 | 28
| TRIB5A | 0.028636 | 27
TP | BYPASS | 1.1424 | 56
| EFLUME | 0.16642 | 8
| HIAWATHA | 0.073507 | 28
| KIRKPAT | 0.091711 | 28
| METRO | 0.057456 | 363
| PARK | 0.086869 | 27
| RT48 | 0.093903 | 28
| TRIB5A | 0.087149 | 27
TSS | BYPASS | 62.2217 | 56
| EFLUME | 15.9313 | 8
| HIAWATHA | 21.5789 | 28
| KIRKPAT | 84.6251 | 28
| METRO | 5.0378 | 363
| PARK | 22.533 | 27
| RT48 | 88.0707 | 28
| TRIB5A | 10.6563 | 27